Model Implementation Conformance Statement for the IEC 61850 Edition 2 server interface in <Device>

Version <<vendor version>>

Date <<date PIXIT released by vendor>>

Introduction

This model implementation conformance statement is applicable for <device ID and name>, with firmware <version>:

This MICS document specifies the modelling extensions compared to IEC 61850 Edition 2. For the exact details on the standardized model please compare the ICD substation configuration file: “<filename.icd>”, version <version>.

Clause 2 contains the list of implemented logical nodes.

Clause 3 describes the new and extended logical nodes (if any).

Clause 4 describes the new and extended enum types (if any).

<note – remove the non-applicable clauses>

Logical Nodes List

The following table contains the list of logical nodes implemented in the device:

e.g.

L: System Logical Nodes

LPHD (Physical device information)

LLN0 (Logical node zero)

P: Logical Nodes for protection functions

PIOC (Instantaneous overcurrent)

PTOC (Time overcurrent)

PTOF (Overfrequency)

PTOV (Overvoltage)

PTUV (Undervoltage)

PTUF (Underfrequency)

R: Logical nodes for protection related functions

RDIR (Directional element)

RREC (Autoreclosing)

G: Logical Nodes for generic references

GGIO (Generic process I/O)

M: Logical Nodes for metering and measurement

MMTR (Metering)

MMXU (Measurement)

X: Logical Nodes for switchgear

XCBR (Circuit breaker)

XSWI (Switch)

Logical Node Extensions

The following table use

- M: Data object is mandatory in the IEC 61850-7-4 ED.2.

- O: Data object is optional in the IEC 61850-7-4 ED.2 and is used in the device.

- E: Data object is an extension to the IEC 61850-7-4 ED.2.

New Logical Nodes

Newly created logical nodes are listed in this clause, with lnNs attribute in the Name plate.

<LN> <description>

<New LN description and usage>

| <LN> class |  |  |  |  |
| --- | --- | --- | --- | --- |
| Data object name | Common data class | Explanation | M/O/E | Remarks |
| <LN> |  | <explanation> | M |  |
| Data Objects |  |  |  |  |
| Common Logical Node Information |  |  |  |  |
| Status Information |  |  |  |  |
| Settings |  |  |  |  |

Extended Logical Nodes

The following logical nodes have been extended with extra data. All extra data has been highlighted in the tables and marked as “E” (Extended).

NOTE: If the extended data object is already used in other logic nodes in IEC 61850-7-4 Ed.2, dataNs is not mandatory, but it’s still recommended.

<LN> <description>

Following is an example of extending PIOC with a few extra data object.

| PIOC class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Data object name | Common data class | Explanation |  | M/O/E | Remarks |
| PIOC |  | Instantaneous overcurrent |  |  |  |
| Data objects |  |  |  |  |  |
| Common Logical Node Information |  |  |  |  |  |
| Mod | INC |  | Mode | M | Status-only |
| Beh | INS |  | Behaviour | M |  |
| Health | INS |  | Health | M |  |
| NamPlt | LPL |  | Name plate | M |  |
| Status Information |  |  |  |  |  |
| Str | ACD | Start |  | O |  |
| Op | ACT | Operate |  | M |  |
| <newDO> | <CDC> | <explanation> |  | E |  |
| Settings |  |  |  |  |  |
| StrVal | ASG | Start value |  | O | Pickup Level (0,05 – 160) |
|  |  |  |  | E |  |
|  |  |  |  | E |  |
|  |  |  |  | E |  |
|  |  |  |  | E |  |

Enum types Extensions

New Enum types

New enum types are listed in this clause.

<New Enum type>

| Value | Description | Remarks |
| --- | --- | --- |
| 0 |  |  |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

Extended Enum types

Enum types with extended negative values are listed in this clause. Semantic of these negative values are described.

<Extended Enum type>

| Value | Description | Remarks |
| --- | --- | --- |
| -4 |  |  |
| -3 |  |  |
| -2 |  |  |
| -1 |  |  |