## Sheet1
|  |  | Line Number | Message
Warning | Warning | Warning | Warning | Warning
| Services | Services | Services | Services
|  | The services section claims support for TimerActivatedControls but "operTm" is not found in model | The services section claims support for TimerActivatedControls but "operTm" is not found in model | The services section claims support for TimerActivatedControls but "operTm" is not found in model
|  |  | 27 | The services section claims support for TimerActivatedControls but "operTm" is not found in model
| LogControls | LogControls | LogControls | LogControls
|  | Found "ConfLogControl" in Services section but failed to find any Log Control Blocks | Found "ConfLogControl" in Services section but failed to find any Log Control Blocks | Found "ConfLogControl" in Services section but failed to find any Log Control Blocks
|  |  | 38 | Found "ConfLogControl" in Services section but failed to find any Log Control Blocks
| GOOSEControls | GOOSEControls | GOOSEControls | GOOSEControls
|  | Found "GOOSE" in Services section but failed to find any GOOSE Control Blocks | Found "GOOSE" in Services section but failed to find any GOOSE Control Blocks | Found "GOOSE" in Services section but failed to find any GOOSE Control Blocks
|  |  | 39 | Found "GOOSE" in Services section but failed to find any GOOSE Control Blocks
| DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck
|  | Duplicate Tempate id="APCSelectWithValue_1" found on line number 986" and id="APCOperate_1" found on line number 978 | Duplicate Tempate id="APCSelectWithValue_1" found on line number 986" and id="APCOperate_1" found on line number 978 | Duplicate Tempate id="APCSelectWithValue_1" found on line number 986" and id="APCOperate_1" found on line number 978
|  |  | 978 | Duplicate Tempate id="APCSelectWithValue_1" found on line number 986" and id="APCOperate_1" found on line number 978
|  | Duplicate Tempate id="APCOperate_1" found on line number 978" and id="APCSelectWithValue_1" found on line number 986 | Duplicate Tempate id="APCOperate_1" found on line number 978" and id="APCSelectWithValue_1" found on line number 986 | Duplicate Tempate id="APCOperate_1" found on line number 978" and id="APCSelectWithValue_1" found on line number 986
|  |  | 986 | Duplicate Tempate id="APCOperate_1" found on line number 978" and id="APCSelectWithValue_1" found on line number 986
|  | Duplicate Tempate id="ENCOperate_1" found on line number 1002" and id="ENCSelectWithValue_1" found on line number 994 | Duplicate Tempate id="ENCOperate_1" found on line number 1002" and id="ENCSelectWithValue_1" found on line number 994 | Duplicate Tempate id="ENCOperate_1" found on line number 1002" and id="ENCSelectWithValue_1" found on line number 994
|  |  | 994 | Duplicate Tempate id="ENCOperate_1" found on line number 1002" and id="ENCSelectWithValue_1" found on line number 994
|  | Duplicate Tempate id="ENCSelectWithValue_1" found on line number 994" and id="ENCOperate_1" found on line number 1002 | Duplicate Tempate id="ENCSelectWithValue_1" found on line number 994" and id="ENCOperate_1" found on line number 1002 | Duplicate Tempate id="ENCSelectWithValue_1" found on line number 994" and id="ENCOperate_1" found on line number 1002
|  |  | 1002 | Duplicate Tempate id="ENCSelectWithValue_1" found on line number 994" and id="ENCOperate_1" found on line number 1002
|  | Duplicate Tempate id="Beh" found on line number 1038" and id="Mod" found on line number 1024 | Duplicate Tempate id="Beh" found on line number 1038" and id="Mod" found on line number 1024 | Duplicate Tempate id="Beh" found on line number 1038" and id="Mod" found on line number 1024
|  |  | 1024 | Duplicate Tempate id="Beh" found on line number 1038" and id="Mod" found on line number 1024
|  | Duplicate Tempate id="Mod" found on line number 1024" and id="Beh" found on line number 1038 | Duplicate Tempate id="Mod" found on line number 1024" and id="Beh" found on line number 1038 | Duplicate Tempate id="Mod" found on line number 1024" and id="Beh" found on line number 1038
|  |  | 1038 | Duplicate Tempate id="Mod" found on line number 1024" and id="Beh" found on line number 1038
|  | Duplicate Tempate id="PhyHealth" found on line number 1050" and id="Health" found on line number 1045 | Duplicate Tempate id="PhyHealth" found on line number 1050" and id="Health" found on line number 1045 | Duplicate Tempate id="PhyHealth" found on line number 1050" and id="Health" found on line number 1045
|  |  | 1045 | Duplicate Tempate id="PhyHealth" found on line number 1050" and id="Health" found on line number 1045
|  | Duplicate Tempate id="Health" found on line number 1045" and id="PhyHealth" found on line number 1050 | Duplicate Tempate id="Health" found on line number 1045" and id="PhyHealth" found on line number 1050 | Duplicate Tempate id="Health" found on line number 1045" and id="PhyHealth" found on line number 1050
|  |  | 1050 | Duplicate Tempate id="Health" found on line number 1045" and id="PhyHealth" found on line number 1050
|  | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only" | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only" | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 423 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 431 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 448 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 461 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 478 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 486 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 503 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 508 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 516 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 536 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 554 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 571 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
|  |  | 619 | ctlModel="sbo-with-en han ced-secu rity" is not a valid value. Interpreting as "status-only"
| Controls | Controls | Controls | Controls
|  | "sboTimeout" value is not set in the template or in instance data. | "sboTimeout" value is not set in the template or in instance data. | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  |  | 0 | "sboTimeout" value is not set in the template or in instance data.
|  | "operTimeout" value is not set in the template or in instance data. | "operTimeout" value is not set in the template or in instance data. | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
|  |  | 0 | "operTimeout" value is not set in the template or in instance data.
| CompareToStandardCustomElement | CompareToStandardCustomElement | CompareToStandardCustomElement | CompareToStandardCustomElement
|  | Failed find "lnClass=DPCC" in master model. Custom LogicalNode? | Failed find "lnClass=DPCC" in master model. Custom LogicalNode? | Failed find "lnClass=DPCC" in master model. Custom LogicalNode?
|  |  | 648 | Failed find "lnClass=DPCC" in master model. Custom LogicalNode?
|  |  | 658 | Failed find "lnClass=DPCC" in master model. Custom LogicalNode?
|  |  | 668 | Failed find "lnClass=DPCC" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DECP" in master model. Custom LogicalNode? | Failed find "lnClass=DECP" in master model. Custom LogicalNode? | Failed find "lnClass=DECP" in master model. Custom LogicalNode?
|  |  | 678 | Failed find "lnClass=DECP" in master model. Custom LogicalNode?
|  |  | 806 | Failed find "lnClass=DECP" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DGEN" in master model. Custom LogicalNode? | Failed find "lnClass=DGEN" in master model. Custom LogicalNode? | Failed find "lnClass=DGEN" in master model. Custom LogicalNode?
|  |  | 685 | Failed find "lnClass=DGEN" in master model. Custom LogicalNode?
|  |  | 729 | Failed find "lnClass=DGEN" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DSTO" in master model. Custom LogicalNode? | Failed find "lnClass=DSTO" in master model. Custom LogicalNode? | Failed find "lnClass=DSTO" in master model. Custom LogicalNode?
|  |  | 698 | Failed find "lnClass=DSTO" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DWMX" in master model. Custom LogicalNode? | Failed find "lnClass=DWMX" in master model. Custom LogicalNode? | Failed find "lnClass=DWMX" in master model. Custom LogicalNode?
|  |  | 744 | Failed find "lnClass=DWMX" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DAGC" in master model. Custom LogicalNode? | Failed find "lnClass=DAGC" in master model. Custom LogicalNode? | Failed find "lnClass=DAGC" in master model. Custom LogicalNode?
|  |  | 754 | Failed find "lnClass=DAGC" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DVAR" in master model. Custom LogicalNode? | Failed find "lnClass=DVAR" in master model. Custom LogicalNode? | Failed find "lnClass=DVAR" in master model. Custom LogicalNode?
|  |  | 764 | Failed find "lnClass=DVAR" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DFPF" in master model. Custom LogicalNode? | Failed find "lnClass=DFPF" in master model. Custom LogicalNode? | Failed find "lnClass=DFPF" in master model. Custom LogicalNode?
|  |  | 774 | Failed find "lnClass=DFPF" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DVVR" in master model. Custom LogicalNode? | Failed find "lnClass=DVVR" in master model. Custom LogicalNode? | Failed find "lnClass=DVVR" in master model. Custom LogicalNode?
|  |  | 786 | Failed find "lnClass=DVVR" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DPMC" in master model. Custom LogicalNode? | Failed find "lnClass=DPMC" in master model. Custom LogicalNode? | Failed find "lnClass=DPMC" in master model. Custom LogicalNode?
|  |  | 799 | Failed find "lnClass=DPMC" in master model. Custom LogicalNode?
|  | Failed find "lnClass=DPFW" in master model. Custom LogicalNode? | Failed find "lnClass=DPFW" in master model. Custom LogicalNode? | Failed find "lnClass=DPFW" in master model. Custom LogicalNode?
|  |  | 815 | Failed find "lnClass=DPFW" in master model. Custom LogicalNode?
Recommendation | Recommendation | Recommendation | Recommendation | Recommendation
| Controls | Controls | Controls | Controls
|  | ctlModel="status-only" parameter "SBOw" is not used | ctlModel="status-only" parameter "SBOw" is not used | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 423 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 431 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 448 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 461 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 478 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 486 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 503 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 508 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 516 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 536 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 554 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 571 | ctlModel="status-only" parameter "SBOw" is not used
|  |  | 619 | ctlModel="status-only" parameter "SBOw" is not used
|  | ctlModel="status-only" parameter "Oper" is not used | ctlModel="status-only" parameter "Oper" is not used | ctlModel="status-only" parameter "Oper" is not used
|  |  | 423 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 431 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 448 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 461 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 478 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 486 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 503 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 508 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 516 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 536 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 554 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 571 | ctlModel="status-only" parameter "Oper" is not used
|  |  | 619 | ctlModel="status-only" parameter "Oper" is not used
|  | ctlModel="status-only" parameter "Cancel" is not used | ctlModel="status-only" parameter "Cancel" is not used | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 423 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 431 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 448 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 461 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 478 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 486 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 503 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 508 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 516 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 536 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 554 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 571 | ctlModel="status-only" parameter "Cancel" is not used
|  |  | 619 | ctlModel="status-only" parameter "Cancel" is not used
Information | Information | Information | Information | Information
| Stats | Stats | Stats | Stats
|  | SCL File is "Edition_2007B4" | SCL File is "Edition_2007B4" | SCL File is "Edition_2007B4"
|  |  | 0 | SCL File is "Edition_2007B4"
|  | There are 0 Private elements and 891 non Private elements. | There are 0 Private elements and 891 non Private elements. | There are 0 Private elements and 891 non Private elements.
|  |  | 0 | There are 0 Private elements and 891 non Private elements.
|  | There are 0 GGIO Logical Nodes and 31 non GGIO Logical Nodes. | There are 0 GGIO Logical Nodes and 31 non GGIO Logical Nodes. | There are 0 GGIO Logical Nodes and 31 non GGIO Logical Nodes.
|  |  | 0 | There are 0 GGIO Logical Nodes and 31 non GGIO Logical Nodes.
|  | There are 1 Server(s) and 0 Client(s) defined in the file | There are 1 Server(s) and 0 Client(s) defined in the file | There are 1 Server(s) and 0 Client(s) defined in the file
|  |  | 0 | There are 1 Server(s) and 0 Client(s) defined in the file
|  | Report Control Blocks:4 Buffered:1 UnBuffered:3 Instances Supported:8 4 have pre assigned DataSets GOOSE Control Blocks:0 0 have pre assigned DataSets Log Control Blocks:0 0 have pre assigned DataSets Logs:0 SampledValue Control Blocks:0 0 have pre assigned DataSets DataSets:4 Setting Controls:0 | Report Control Blocks:4 Buffered:1 UnBuffered:3 Instances Supported:8 4 have pre assigned DataSets GOOSE Control Blocks:0 0 have pre assigned DataSets Log Control Blocks:0 0 have pre assigned DataSets Logs:0 SampledValue Control Blocks:0 0 have pre assigned DataSets DataSets:4 Setting Controls:0 | Report Control Blocks:4 Buffered:1 UnBuffered:3 Instances Supported:8 4 have pre assigned DataSets GOOSE Control Blocks:0 0 have pre assigned DataSets Log Control Blocks:0 0 have pre assigned DataSets Logs:0 SampledValue Control Blocks:0 0 have pre assigned DataSets DataSets:4 Setting Controls:0
|  |  | 0 | Report Control Blocks:4 Buffered:1 UnBuffered:3 Instances Supported:8 4 have pre assigned DataSets GOOSE Control Blocks:0 0 have pre assigned DataSets Log Control Blocks:0 0 have pre assigned DataSets Logs:0 SampledValue Control Blocks:0 0 have pre assigned DataSets DataSets:4 Setting Controls:0
Error | Error | Error | Error | Error
| Services | Services | Services | Services
|  | Services section include "SupSubscription" service but no LGOS or LSVS exists in the model | Services section include "SupSubscription" service but no LGOS or LSVS exists in the model | Services section include "SupSubscription" service but no LGOS or LSVS exists in the model
|  |  | 49 | Services section include "SupSubscription" service but no LGOS or LSVS exists in the model
| DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck | DataTypeTemplatesIntegrityCheck
|  | Unable to convert value "status-only" of "Mod.ctlModel" to enumeration. See resolved element at line 835 | Unable to convert value "status-only" of "Mod.ctlModel" to enumeration. See resolved element at line 835 | Unable to convert value "status-only" of "Mod.ctlModel" to enumeration. See resolved element at line 835
|  |  | 120 | Unable to convert value "status-only" of "Mod.ctlModel" to enumeration. See resolved element at line 835
|  | Unable to convert value "status-only" of "Pos.ctlModel" to enumeration. See resolved element at line 920 | Unable to convert value "status-only" of "Pos.ctlModel" to enumeration. See resolved element at line 920 | Unable to convert value "status-only" of "Pos.ctlModel" to enumeration. See resolved element at line 920
|  |  | 352 | Unable to convert value "status-only" of "Pos.ctlModel" to enumeration. See resolved element at line 920
|  | Unable to convert value "status-only" of "BlkOpn.ctlModel" to enumeration. See resolved element at line 926 | Unable to convert value "status-only" of "BlkOpn.ctlModel" to enumeration. See resolved element at line 926 | Unable to convert value "status-only" of "BlkOpn.ctlModel" to enumeration. See resolved element at line 926
|  |  | 357 | Unable to convert value "status-only" of "BlkOpn.ctlModel" to enumeration. See resolved element at line 926
|  | Unable to convert value "status-only" of "BlkCls.ctlModel" to enumeration. See resolved element at line 926 | Unable to convert value "status-only" of "BlkCls.ctlModel" to enumeration. See resolved element at line 926 | Unable to convert value "status-only" of "BlkCls.ctlModel" to enumeration. See resolved element at line 926
|  |  | 362 | Unable to convert value "status-only" of "BlkCls.ctlModel" to enumeration. See resolved element at line 926
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "WMaxSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WMaxSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WMaxSptPct.ctlModel" to enumeration. See resolved element at line 932
|  |  | 423 | Unable to convert value "sbo-with-en han ced-secu rity" of "WMaxSptPct.ctlModel" to enumeration. See resolved element at line 932
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 431 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 461 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 486 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 516 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 536 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  |  | 619 | Unable to convert value "sbo-with-en han ced-secu rity" of "Mod.ctlModel" to enumeration. See resolved element at line 941
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "WSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSptPct.ctlModel" to enumeration. See resolved element at line 932
|  |  | 448 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSptPct.ctlModel" to enumeration. See resolved element at line 932
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "VArTgtSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "VArTgtSptPct.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "VArTgtSptPct.ctlModel" to enumeration. See resolved element at line 932
|  |  | 478 | Unable to convert value "sbo-with-en han ced-secu rity" of "VArTgtSptPct.ctlModel" to enumeration. See resolved element at line 932
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "PFGnTgtSpt.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFGnTgtSpt.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFGnTgtSpt.ctlModel" to enumeration. See resolved element at line 932
|  |  | 503 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFGnTgtSpt.ctlModel" to enumeration. See resolved element at line 932
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "PFLodTgtSpt.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFLodTgtSpt.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFLodTgtSpt.ctlModel" to enumeration. See resolved element at line 932
|  |  | 508 | Unable to convert value "sbo-with-en han ced-secu rity" of "PFLodTgtSpt.ctlModel" to enumeration. See resolved element at line 932
|  | Unable to convert value "sbo-with-en han ced-secu rity" of "WSpt1.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSpt1.ctlModel" to enumeration. See resolved element at line 932 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSpt1.ctlModel" to enumeration. See resolved element at line 932
|  |  | 554 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSpt1.ctlModel" to enumeration. See resolved element at line 932
|  |  | 571 | Unable to convert value "sbo-with-en han ced-secu rity" of "WSpt1.ctlModel" to enumeration. See resolved element at line 932
| CompareToStandardPresenceCondition | CompareToStandardPresenceCondition | CompareToStandardPresenceCondition | CompareToStandardPresenceCondition
|  | Missing mandatory element "configRev" | Missing mandatory element "configRev" | Missing mandatory element "configRev"
|  |  | 862 | Missing mandatory element "configRev"
| CompareToStandardEnumMismatch | CompareToStandardEnumMismatch | CompareToStandardEnumMismatch | CompareToStandardEnumMismatch
|  | Comparing enum type by ord for element "Mod.stVal". Failed for enumeration "Mod" master value "blocked" != "on-blocked" | Comparing enum type by ord for element "Mod.stVal". Failed for enumeration "Mod" master value "blocked" != "on-blocked" | Comparing enum type by ord for element "Mod.stVal". Failed for enumeration "Mod" master value "blocked" != "on-blocked"
|  |  | 1024 | Comparing enum type by ord for element "Mod.stVal". Failed for enumeration "Mod" master value "blocked" != "on-blocked"
|  | Comparing enum type by value for element "Mod.stVal". Failed for enumeration "Mod" value="on-blocked" not found in Master Enums. | Comparing enum type by value for element "Mod.stVal". Failed for enumeration "Mod" value="on-blocked" not found in Master Enums. | Comparing enum type by value for element "Mod.stVal". Failed for enumeration "Mod" value="on-blocked" not found in Master Enums.
|  |  | 1024 | Comparing enum type by value for element "Mod.stVal". Failed for enumeration "Mod" value="on-blocked" not found in Master Enums.
|  | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  |  | 1031 | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Mod.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Beh.stVal". Failed for enumeration "Beh" master value "blocked" != "on-blocked" | Comparing enum type by ord for element "Beh.stVal". Failed for enumeration "Beh" master value "blocked" != "on-blocked" | Comparing enum type by ord for element "Beh.stVal". Failed for enumeration "Beh" master value "blocked" != "on-blocked"
|  |  | 1038 | Comparing enum type by ord for element "Beh.stVal". Failed for enumeration "Beh" master value "blocked" != "on-blocked"
|  | Comparing enum type by value for element "Beh.stVal". Failed for enumeration "Beh" value="on-blocked" not found in Master Enums. | Comparing enum type by value for element "Beh.stVal". Failed for enumeration "Beh" value="on-blocked" not found in Master Enums. | Comparing enum type by value for element "Beh.stVal". Failed for enumeration "Beh" value="on-blocked" not found in Master Enums.
|  |  | 1038 | Comparing enum type by value for element "Beh.stVal". Failed for enumeration "Beh" value="on-blocked" not found in Master Enums.
|  | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  |  | 1031 | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "Pos.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  |  | 1031 | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkOpn.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  |  | 1031 | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "status-only" != "statu s-o n ly"
|  | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-normal-security" != "d irect-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-normal-security" != "sbo-with-n o rmal-secu rity"
|  | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-n o rmal-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "direct-with-enhanced-security" != "d irect-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="d irect-with-en h an ced-secu rity" not found in Master Enums.
|  | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity" | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  |  | 1031 | Comparing enum type by ord for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" master value "sbo-with-enhanced-security" != "sbo-with-en h an ced-secu rity"
|  | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums. | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.
|  |  | 1031 | Comparing enum type by value for element "BlkCls.ctlModel". Failed for enumeration "CtlModelKind" value="sbo-with-en h an ced-secu rity" not found in Master Enums.